{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["яч.1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"яч.1","index":0,"n_rows":42,"n_cols":26,"rows_kept":42,"cut":false,"hidden":false,"merged":[[6,0,6,24],[5,0,5,24],[8,1,8,25],[41,0,41,1],[37,0,37,25],[38,1,38,24],[39,1,39,24],[40,1,40,24],[8,0,9,0]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Приложение 2"]
[]
[]
[]
["Ведомость контрольных замеров за 19.06.2019г."]
["ПС 110/10 кВ №96 \"Полярная\""]
[]
["Время "," Iн. А"]
[null,"Яч.1","Яч.3","Яч.5","Яч.7","Яч.9","Яч.11","Яч.13","Яч.17","Яч.19","Яч.25","Яч.27 ","Яч.29","Яч.23","Яч.4","Яч.6 ","Яч.8","Яч.16","Яч.18","Яч.20","Яч.24","Яч.26","Яч.28","Яч.30","Яч.32","Яч.10"]
["(мск.)",null,null,null,null,"КРМ",null,null,null,null,null,"ТСН",null,null,null,"ТСН",null,null,null,null,null,null,"КРМ"]
["00:00:00",8.6752637749120805,48.358733880422001,27.9015240328253,4.8065650644783098,34.7010550996483,19.4607268464244,8.7924970691676396,4.2203985932004704,3.9859320046893298,50.293083235638903,0,4.8065650644783098,179.36694021101999,64.361078546307198,0,14.654161781946099,9.3786635404454906,24.736225087925,26.201641266119601,11.957796014068,5.27549824150059,34.7010550996483,9.1441969519343491,15.3575615474795,185.961313012896]
["01:00:00",8.4407971864009408,48.886283704572101,27.9015240328253,5.0410316529894503,34.818288393903899,18.991793669402099,8.9683470105509997,3.9859320046893298,4.1031652989448997,49.941383352872201,0,4.8065650644783098,178.04806565064499,65.592028135990603,0,14.536928487690499,9.3786635404454906,27.667057444314199,24.618991793669402,13.9507620164127,7.5029308323563901,34.7010550996483,8.7924970691676396,15.4747948417351,192.55568581477101]
["02:00:00",8.7924970691676396,50.468933177022301,30.363423212192298,5.0410316529894503,34.818288393903899,21.1019929660023,11.254396248534601,3.86869871043376,3.9859320046893298,53.810082063305998,0,4.8065650644783098,192.116060961313,80.363423212192302,0,14.654161781946099,9.3786635404454906,28.7221570926143,26.0257913247362,13.8335287221571,7.9718640093786597,34.583821805392702,8.5580304806565106,17.467760844079699,220.25205158264899]
["03:00:00",11.137162954279001,66.647127784290703,35.052754982415003,5.27549824150059,34.7010550996483,27.198124267291899,11.781946072684599,4.1031652989448997,3.7514654161781902,64.536928487690503,0,4.8065650644783098,239.595545134818,89.507620164126607,0,14.654161781946099,9.1441969519343491,39.624853458382198,35.873388042203999,15.826494724501799,6.21336459554513,34.7010550996483,11.7233294255569,18.991793669402099,255.86166471277801]
["04:00:00",12.309495896834701,85.463071512309497,38.335287221570901,6.4478311840562696,34.818288393903899,28.018757327080898,15.2989449003517,7.8546307151230996,4.1031652989448997,71.043376318874607,0,4.8065650644783098,289.71277842907398,100.58616647127801,0,14.654161781946099,9.3786635404454906,40.914419695193402,42.203985932004699,21.219226260257901,13.364595545134801,34.583821805392702,13.481828839390401,26.611957796014099,317.40914419695201]
["05:00:00",13.1301289566237,101.11371629542801,43.728018757327099,7.5029308323563901,34.466588511137203,33.763188745603699,20.750293083235601,7.5029308323563901,3.86869871043376,77.725674091442002,0,4.6893317702227399,327.08089097303599,103.048065650645,0,14.536928487690499,9.3786635404454906,53.6928487690504,53.810082063305998,29.425556858147701,17.116060961313,34.349355216881598,14.0679953106682,32.239155920281398,373.68112543962502]
["06:00:00",13.8335287221571,93.552168815943702,52.520515826494702,7.9718640093786597,34.466588511137203,34.232121922626,26.201641266119601,7.5029308323563901,3.9859320046893298,89.331770222743302,0,4.8065650644783098,357.85463071512299,116.94021101993,0,14.419695193434899,9.4958968347010604,49.003516998827699,55.041031652989403,30.597889800703399,15.2403282532239,34.349355216881598,15.1230949589683,35.638921453692902,391.70574443141902]
["07:00:00",12.309495896834701,113.95076201641299,51.934349355216902,7.7373974208675298,34.466588511137203,37.514654161781898,28.311840562719802,8.6752637749120805,3.9859320046893298,90.738569753810097,0,4.8065650644783098,381.59437280187598,119.753810082063,0,14.654161781946099,12.192262602579101,55.451348182883898,64.185228604923793,31.887456037514699,19.812426729191099,34.349355216881598,16.764361078546301,35.404454865181698,423.35873388042199]
["08:00:00",14.7713950762016,98.124267291910897,55.099648300117202,7.5029308323563901,34.349355216881598,34.7010550996483,25.4982415005862,7.5029308323563901,3.9859320046893298,88.452520515826507,0,4.6893317702227399,360.93200468933202,117.291910902696,0,14.536928487690499,11.957796014068,53.458382180539303,63.657678780773701,25.674091441969502,15.9437280187573,34.232121922626,16.529894490035201,37.162954279015203,407.97186400937898]
["09:00:00",14.654161781946099,103.92731535756199,50.762016412661197,7.5029308323563901,34.466588511137203,36.459554513481798,23.212192262602599,7.5029308323563901,3.9859320046893298,85.638921453692802,0,4.8065650644783098,354.33763188745598,110.257913247362,0,14.536928487690499,12.192262602579101,56.389214536928499,66.822977725674093,28.604923798358701,17.819460726846401,34.349355216881598,16.529894490035201,36.225087924970701,409.730363423212]
["10:00:00",11.6060961313013,107.796014067995,56.037514654161797,7.2684642438452496,34.349355216881598,34.349355216881598,26.905041031652999,6.5650644783118404,3.9859320046893298,87.573270808909697,0,4.5720984759671701,356.975381008206,109.730363423212,0,14.536928487690499,11.8405627198124,54.044548651817102,56.271981242672901,23.094958968347001,18.874560375146501,34.232121922626,16.529894490035201,34.466588511137203,391.70574443141902]
["11:00:00",11.8405627198124,72.626025791324693,51.699882766705699,7.5029308323563901,34.583821805392702,37.162954279015203,25.849941383352899,7.5029308323563901,3.9859320046893298,83.880422039859297,0,4.8065650644783098,321.80539273153602,104.80656506447799,0,14.536928487690499,12.192262602579101,53.458382180539303,57.678780773739703,24.618991793669402,15.9437280187573,34.349355216881598,16.647127784290699,33.6459554513482,381.59437280187598]
["12:00:00",12.426729191090301,84.583821805392702,53.6928487690504,8.6752637749120805,34.466588511137203,35.404454865181698,25.322391559202799,6.21336459554513,3.9859320046893298,86.694021101993002,0,4.6893317702227399,339.39038686987101,111.313012895662,0,14.536928487690499,11.957796014068,55.568581477139503,57.151230949589703,22.508792497069201,19.4607268464244,34.349355216881598,16.412661195779599,33.1770222743259,389.94724501758498]
["13:00:00",13.7162954279015,74.560375146541602,52.0515826494725,8.4407971864009408,34.466588511137203,33.528722157092602,21.1019929660023,5.7444314185228604,3.9859320046893298,84.056271981242702,0,4.6893317702227399,317.84876905041,112.89566236811299,0,14.419695193434899,11.957796014068,55.451348182883898,51.172332942555698,17.467760844079699,13.599062133645999,34.232121922626,19.2262602579132,33.6459554513482,371.48300117233299]
["14:00:00",14.8886283704572,67.526377491207498,54.7479484173505,8.9097303634232095,34.466588511137203,37.8663540445487,18.991793669402099,5.6271981242672897,3.9859320046893298,88.100820633059797,0,4.8065650644783098,328.83939038686998,113.24736225087899,0,14.536928487690499,12.0750293083236,53.458382180539303,47.127784290738603,18.522860492379799,13.364595545134801,34.349355216881598,20.0468933177022,30.2461899179367,360.49237983587301]
["15:00:00",13.7162954279015,65.943728018757298,54.630715123095001,9.0269636576787793,34.583821805392702,37.983587338804199,17.057444314185201,5.6271981242672897,3.9859320046893298,90.035169988276706,0,4.6893317702227399,328.83939038686998,113.24736225087899,0,14.654161781946099,12.0750293083236,54.161781946072701,48.886283704572101,15.2403282532239,12.5439624853458,34.466588511137203,17.936694021101999,25.908558030480702,348.622508792497]
["16:00:00",14.3024618991794,63.305978898006998,54.161781946072701,8.7924970691676396,34.583821805392702,37.397420867526399,14.947245017585001,4.8065650644783098,3.9859320046893298,85.111371629542802,0,4.6893317702227399,312.13364595545102,109.202813599062,0,14.7713950762016,11.8405627198124,55.920281359906198,46.951934349355199,14.536928487690499,9.3786635404454906,34.466588511137203,17.819460726846401,24.5017584994138,332.35638921453699]
["17:00:00",13.481828839390401,63.481828839390403,55.334114888628399,8.2063305978897993,34.583821805392702,39.742086752637697,14.243845252051599,5.0410316529894503,3.9859320046893298,90.562719812426707,0,4.8065650644783098,315.21101992965998,111.66471277842901,0,14.654161781946099,11.957796014068,50.996483001172301,45.545134818288403,14.3024618991794,7.5029308323563901,34.583821805392702,15.592028135990599,22.508792497069201,312.13364595545102]
["18:00:00",16.295427901524,68.581477139507598,52.403282532239203,7.8546307151230996,34.583821805392702,41.031652989449,11.254396248534601,4.6893317702227399,4.1031652989448997,90.035169988276706,0,4.6893317702227399,318.72801875732699,110.257913247362,0,14.536928487690499,12.0750293083236,55.568581477139503,45.896834701055099,14.419695193434899,13.364595545134801,34.466588511137203,15.9437280187573,22.508792497069201,334.11488862837001]
["19:00:00",12.6611957796014,73.681125439624907,43.259085580304799,7.3856975381008203,34.466588511137203,26.729191090269602,7.9132473622508801,4.6893317702227399,3.9859320046893298,78.604923798358698,0,4.6893317702227399,273.00703399765501,101.817116060961,0,14.536928487690499,12.192262602579101,55.099648300117202,42.028135990621301,13.0128956623681,12.0750293083236,34.232121922626,22.508792497069201,21.688159437280198,322.68464243845301]
["20:00:00",10.082063305978901,62.954279015240303,37.514654161781898,6.3305978898006998,34.818288393903899,20.5158264947245,7.9132473622508801,4.1031652989448997,3.9859320046893298,67.702227432590902,0,4.8065650644783098,229.48417350527501,88.628370457209897,0,14.536928487690499,11.957796014068,44.900351699882798,35.697538100820601,13.1301289566237,11.019929660023401,34.583821805392702,18.640093786635401,17.702227432590899,269.92966002344701]
["21:00:00",9.2614302461899207,55.041031652989403,32.239155920281398,5.8616647127784303,34.7010550996483,17.3505275498242,7.9132473622508801,4.2203985932004704,4.1031652989448997,56.623681125439603,0,4.6893317702227399,197.39155920281399,73.505275498241502,0,14.654161781946099,12.0750293083236,35.873388042203999,31.125439624853499,12.5439624853458,8.4407971864009408,34.7010550996483,15.826494724501799,16.0609613130129,227.72567409144199]
["22:00:00",8.6752637749120805,48.182883939038703,28.839390386869901,5.6271981242672897,34.7010550996483,15.826494724501799,7.9132473622508801,4.4548651817116101,3.9859320046893298,54.689331770222701,0,4.8065650644783098,183.32356389214499,69.812426729191102,0,14.654161781946099,12.192262602579101,32.473622508792502,29.015240328253199,12.192262602579101,10.7854630715123,34.583821805392702,14.536928487690499,15.592028135990599,217.614302461899]
["23:00:00",8.6752637749120805,47.655334114888603,27.432590855802999,5.7444314185228604,34.818288393903899,15.1230949589683,8.0890973036342295,4.5720984759671701,4.1031652989448997,52.579132473622501,0,4.6893317702227399,179.36694021101999,66.471277842907398,0,14.654161781946099,9.3786635404454906,30.8323563892145,27.6084407971864,11.957796014068,5.9788980070340001,34.7010550996483,14.1852286049238,15.0058616647128,201.34818288393899]
["24:00:00",8.3235638921453692,46.600234466588503,26.494724501758501,5.3927315357561501,34.935521688159398,13.7162954279015,7.9132473622508801,4.2203985932004704,3.9859320046893298,49.941383352872201,0,4.9237983587338796,166.61781946072699,65.767878077373993,0,14.7713950762016,9.7303634232121894,26.963657678780802,25.4982415005862,12.426729191090301,5.6271981242672897,34.818288393903899,14.0679953106682,13.8335287221571,190.35756154747901]
[]
["                     Примечание: ячейки входящие в \"График временного отключения потребления\" - №5,11,30"]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической мощности\" - №№1,3,5,11,13,18,20,25"]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической энергии\" - №№1,3,5,11,13,18,20,25,30"]
[null,"                          ячейки заведенные под действие АЧР - №№1,5,7,11,13,16,17,18,19,20,24,25,26,30"]
["Селенгин В.В.\n(3902) 29-90-49"]