{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["яч.1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"яч.1","index":0,"n_rows":42,"n_cols":26,"rows_kept":42,"cut":false,"hidden":false,"merged":[[6,0,6,24],[5,0,5,24],[8,1,8,25],[41,0,41,1],[37,0,37,25],[38,1,38,24],[39,1,39,24],[40,1,40,24],[8,0,9,0]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Приложение 2"]
[]
[]
[]
["Ведомость контрольных замеров за 15.12.2021г."]
["ПС 110/10 кВ №96 \"Полярная\""]
[]
["Время "," Iн. А"]
[null,"Яч.1","Яч.3","Яч.5","Яч.7","Яч.9","Яч.11","Яч.13","Яч.17","Яч.19","Яч.25","Яч.27 ","Яч.29","Яч.23","Яч.4","Яч.6 ","Яч.8","Яч.16","Яч.18","Яч.20","Яч.24","Яч.26","Яч.28","Яч.30","Яч.32","Яч.10"]
["(мск.)",null,null,null,null,"КРМ",null,null,null,null,null,"ТСН",null,null,null,"ТСН",null,null,null,null,null,null,"КРМ"]
["00:00:00",67.174677608440803,103.575615474795,34.935521688159398,19.2262602579132,34.232121922626,46.776084407971901,7.9132473622508801,7.7373974208675298,2.9308323563892098,61.723329425556898,"1",4.3376318874560402,344.226260257913,71.043376318874607,"1",1.40679953106682,3.2825322391559202,110.31652989449,40.797186400937903,17.233294255568602,87.221570926143002,34.232121922626,30.2461899179367,33.763188745603699,386.43024618991802]
["01:00:00",68.112543962485304,105.509964830012,34.466588511137203,23.212192262602599,34.232121922626,47.127784290738603,8.0890973036342295,7.5029308323563901,3.0480656506447801,56.447831184056298,"1",4.2203985932004704,354.33763188745598,73.681125439624907,"1",1.40679953106682,9.9648300117233308,107.03399765533401,40.973036342321201,18.112543962485301,87.924970691676407,34.232121922626,30.597889800703399,35.873388042203999,392.14536928487701]
["02:00:00",71.746776084407998,114.126611957796,38.100820633059797,20.867526377491199,34.232121922626,46.776084407971901,7.9132473622508801,7.5029308323563901,3.0480656506447801,68.229777256740903,"1",4.3376318874560402,376.75849941383399,91.617819460726807,"1",1.52403282532239,3.39976553341149,114.067995310668,47.479484173505298,18.288393903868698,90.269636576787804,34.114888628370501,31.8288393903869,39.624853458382198,428.63423212192299]
["03:00:00",79.601406799531105,127.315357561547,44.900351699882798,18.991793669402099,34.349355216881598,64.009378663540403,9.1441969519343491,8.6752637749120805,3.0480656506447801,74.736225087925007,"1",4.2203985932004704,428.19460726846398,101.289566236811,"1",1.52403282532239,3.39976553341149,128.13599062133599,51.699882766705699,22.684642438452499,98.241500586166495,34.114888628370501,37.983587338804199,52.0515826494725,491.94021101993002]
["04:00:00",83.821805392731505,150,50.293083235638903,22.977725674091399,34.232121922626,69.812426729191102,11.254396248534601,15.0058616647128,3.0480656506447801,85.463071512309497,"2",4.1031652989448997,489.30246189917898,117.819460726846,"2",1.40679953106682,3.2825322391559202,128.60492379835901,63.1301289566237,29.894490035170001,105.04103165298901,34.114888628370501,46.951934349355199,74.794841735052799,561.84056271981206]
["05:00:00",86.987104337631905,149.64830011723299,50.5275498241501,25.087924970691699,34.114888628370501,73.856975381008198,12.837045720984801,15.0058616647128,2.9308323563892098,94.958968347010597,"2",4.1031652989448997,509.08558030480702,121.86400937866399,"2",1.52403282532239,9.8475967174677592,129.07385697538101,67.878077373974193,36.576787807737396,131.53575615474799,33.997655334114903,52.754982415005898,79.718640093786604,623.38804220398595]
["06:00:00",94.372801875732705,156.68229777256701,59.320046893317702,23.6811254396249,33.997655334114903,73.681125439624907,18.815943728018802,15.0058616647128,3.0480656506447801,101.64126611957801,"2",4.1031652989448997,547.77256740914402,129.24970691676401,"2",1.40679953106682,9.9648300117233308,135.75615474794799,74.912075029308298,33.763188745603699,151.23094958968301,33.997655334114903,58.206330597889803,83.235638921453699,677.46189917936704]
["07:00:00",96.600234466588503,163.540445486518,62.368112543962503,23.4466588511137,34.114888628370501,76.494724501758498,18.640093786635401,13.8335287221571,3.0480656506447801,95.486518171160597,"1",4.1031652989448997,547.33294255568603,131.53575615474799,"1",1.40679953106682,9.9648300117233308,135.873388042204,74.208675263774893,33.763188745603699,157.796014067995,33.880422039859297,62.0750293083236,84.407971864009397,681.85814771395098]
["08:00:00",85.111371629542802,152.63774912074999,64.595545134818295,24.853458382180499,34.114888628370501,78.780773739742102,20.398593200468898,13.8335287221571,2.9308323563892098,105.685814771395,"2",4.1031652989448997,553.04806565064496,130.83235638921499,"2",1.52403282532239,9.8475967174677592,130.94958968347001,73.681125439624907,32.180539273153599,164.83001172332899,33.880422039859297,59.964830011723301,84.407971864009397,684.05627198124296]
["09:00:00",93.786635404454898,154.74794841735101,67.526377491207498,25.087924970691699,34.114888628370501,73.153575615474793,17.057444314185201,12.8956623681125,3.0480656506447801,101.11371629542801,"1",4.1031652989448997,547.33294255568603,130.65650644783099,"1",1.40679953106682,10.082063305978901,129.07385697538101,75.439624853458398,36.576787807737396,156.62368112543999,33.997655334114903,57.502930832356398,81.359906213364596,678.34114888628403]
["10:00:00",92.966002344665895,142.790152403283,62.016412661195801,22.508792497069201,34.232121922626,72.098475967174707,17.936694021101999,14.3024618991794,2.9308323563892098,94.079718640093802,"2",4.1031652989448997,523.59320046893299,131.53575615474799,"2",1.52403282532239,10.199296600234501,125.439624853458,72.450175849941402,29.015240328253199,157.09261430246201,34.114888628370501,57.678780773739703,83.704572098476007,660.75615474794802]
["11:00:00",88.276670574443102,152.989449003517,57.092614302461897,23.915592028136,34.114888628370501,68.757327080891002,20.398593200468898,11.254396248534601,2.9308323563892098,94.607268464243802,"1",4.1031652989448997,523.59320046893299,126.260257913247,"1",1.40679953106682,9.7303634232121894,128.13599062133599,72.274325908557998,28.839390386869901,151.23094958968301,33.997655334114903,56.623681125439603,79.015240328253199,651.08440797186404]
["12:00:00",94.958968347010597,147.36225087925001,60.844079718640103,24.853458382180499,33.880422039859297,74.208675263774893,17.057444314185201,11.7233294255569,2.8135990621336502,102.872215709261,"2",3.9859320046893298,537.66119577960103,121.68815943728001,"2",1.40679953106682,9.7303634232121894,131.652989449004,72.098475967174707,27.080890973036301,136.22508792497101,33.880422039859297,57.502930832356398,78.546307151230906,638.33528722157098]
["13:00:00",91.676436107854599,152.286049237984,68.698710433763196,22.977725674091399,33.997655334114903,79.132473622508797,15.4747948417351,11.7233294255569,3.0480656506447801,99.531066822977706,"1",4.1031652989448997,543.37631887455996,137.86635404454901,"1",1.40679953106682,9.7303634232121894,118.874560375147,79.132473622508797,25.674091441969502,123.79835873387999,33.880422039859297,58.558030480656498,78.546307151230906,631.74091441969495]
["14:00:00",97.655334114888603,151.58264947244999,72.919109026963696,23.915592028136,33.997655334114903,92.145369284876907,14.7713950762016,11.019929660023401,2.9308323563892098,107.092614302462,"2",4.1031652989448997,572.83118405627204,149.82415005861699,"2",1.40679953106682,9.8475967174677592,147.245017584994,82.649472450175907,22.508792497069201,119.812426729191,33.880422039859297,62.0750293083236,75.029308323563896,676.14302461899194]
["15:00:00",94.021101992965995,146.48300117233299,76.318874560375207,25.556858147713999,33.997655334114903,93.376318874560397,13.364595545134801,9.8475967174677592,2.9308323563892098,113.24736225087899,"2",4.1031652989448997,572.83118405627204,149.82415005861699,"2",1.52403282532239,9.8475967174677592,143.493552168816,76.670574443141803,23.915592028136,107.620164126612,33.997655334114903,67.174677608440803,66.588511137162996,644.490035169988]
["16:00:00",86.166471277842902,144.548651817116,75.732708089097301,23.915592028136,34.114888628370501,91.090269636576807,12.6611957796014,9.6131301289566196,2.8135990621336502,115.709261430246,"2",4.1031652989448997,564.47831184056304,139.09730363423199,"2",1.52403282532239,9.7303634232121894,143.61078546307201,70.691676436107898,21.981242672919102,105.509964830012,33.997655334114903,60.316529894490003,59.788980070340003,612.39742086752597]
["17:00:00",88.745603751465396,135.75615474794799,68.698710433763196,21.1019929660023,34.114888628370501,87.045720984759697,12.6611957796014,9.6131301289566196,3.0480656506447801,104.27901524032799,"2",4.1031652989448997,534.58382180539297,128.54630715123099,"2",1.40679953106682,9.7303634232121894,137.04572098476001,67.350527549824207,21.629542790152399,102.227432590856,33.997655334114903,61.195779601406798,58.147713950761997,581.62368112544004]
["18:00:00",88.276670574443102,133.64595545134799,61.430246189917902,21.1019929660023,34.114888628370501,79.484173505275507,11.254396248534601,9.1441969519343491,2.9308323563892098,96.014067995310697,"2",4.1031652989448997,499.85345838218097,120.281359906213,"2",1.40679953106682,9.9648300117233308,131.06682297772599,56.447831184056298,21.453692848769101,95.193434935521694,33.997655334114903,51.172332942555698,52.0515826494725,538.10082063306004]
["19:00:00",83.470105509964796,126.260257913247,48.300117233294301,21.1019929660023,34.232121922626,70.515826494724493,8.2649472450175807,8.9097303634232095,3.0480656506447801,81.066822977725707,"1",4.1031652989448997,455.45134818288398,96.717467760844102,"1",1.40679953106682,9.9648300117233308,127.667057444314,48.710433763188703,21.629542790152399,94.7245017584994,34.114888628370501,49.237983587338803,45.486518171160597,483.14771395076201]
["20:00:00",84.525205158264995,121.512309495897,43.259085580304799,21.8053927315358,34.349355216881598,59.4372801875733,8.2649472450175807,8.4407971864009408,3.0480656506447801,74.208675263774893,"1",4.2203985932004704,418.96248534583799,86.518171160609597,"1",1.40679953106682,10.199296600234501,116.998827667057,46.951934349355199,17.936694021101999,93.552168815943702,34.232121922626,37.983587338804199,42.438452520515803,447.53810082063302]
["21:00:00",80.070339976553299,113.24736225087899,38.4525205158265,19.4607268464244,34.232121922626,51.348182883939003,8.0890973036342295,8.4407971864009408,3.0480656506447801,70.339976553341103,"1",4.1031652989448997,390.38686987104302,79.660023446658897,"1",1.52403282532239,9.8475967174677592,116.881594372802,44.665885111371601,16.881594372801899,97.538100820633105,34.114888628370501,32.356389214536897,35.404454865181698,428.19460726846398]
["22:00:00",79.366940211019894,109.378663540445,37.514654161781898,21.3364595545135,34.349355216881598,47.831184056272001,8.2649472450175807,7.9718640093786597,2.9308323563892098,59.261430246189903,"1",4.2203985932004704,376.75849941383399,74.032825322391602,"1",1.40679953106682,9.8475967174677592,116.764361078546,40.621336459554499,17.057444314185201,92.848769050410297,34.232121922626,30.7737397420868,36.107854630715103,411.92848769050403]
["23:00:00",74.560375146541602,108.851113716295,34.466588511137203,18.757327080890999,34.349355216881598,47.479484173505298,7.9132473622508801,8.2063305978897993,3.0480656506447801,56.975381008206298,"1",4.2203985932004704,357.41500586166501,72.098475967174707,"1",1.40679953106682,10.082063305978901,110.433763188746,39.390386869871001,15.826494724501799,92.145369284876907,34.232121922626,30.422039859320002,36.107854630715103,402.25674091441999]
["24:00:00",74.677608440797201,114.654161781946,34.7010550996483,20.398593200468898,34.349355216881598,45.896834701055099,8.2649472450175807,8.2063305978897993,3.0480656506447801,56.975381008206298,"1",4.2203985932004704,364.00937866354002,72.801875732708098,"1",1.52403282532239,3.39976553341149,113.48182883939,40.797186400937903,16.178194607268502,91.207502930832405,34.232121922626,31.3012895662368,37.045720984759697,404.01524032825301]
[]
["                     Примечание: ячейки входящие в \"График временного отключения потребления\" - №---(отсутствуют)"]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической мощности\" - №№1,3,5,11,13,18,20,25."]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической энергии\" - №№1,3,5, 11,13,18,20,25,30."]
[null,"                          ячейки заведенные под действие АЧР - №№1,5,7,11,13,17,18,19,20,26,30"]
["Селенгин В.В.\n(3902) 29-90-49"]