{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["яч.1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"яч.1","index":0,"n_rows":42,"n_cols":26,"rows_kept":42,"cut":false,"hidden":false,"merged":[[6,0,6,24],[5,0,5,24],[8,1,8,25],[41,0,41,1],[37,0,37,25],[38,1,38,24],[39,1,39,24],[40,1,40,24],[8,0,9,0]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Приложение 2"]
[]
[]
[]
["Ведомость контрольных замеров за 16.06.2021г."]
["ПС 110/10 кВ №96 \"Полярная\""]
[]
["Время "," Iн. А"]
[null,"Яч.1","Яч.3","Яч.5","Яч.7","Яч.9","Яч.11","Яч.13","Яч.17","Яч.19","Яч.25","Яч.27 ","Яч.29","Яч.23","Яч.4","Яч.6 ","Яч.8","Яч.16","Яч.18","Яч.20","Яч.24","Яч.26","Яч.28","Яч.30","Яч.32","Яч.10"]
["(мск.)",null,null,null,null,"КРМ",null,null,null,null,null,"ТСН",null,null,null,"ТСН",null,null,null,null,null,null,"КРМ"]
["00:00:00",5.5099648300117199,43.083235638921501,24.853458382180499,17.584994138335301,34.583821805392702,33.411488862836997,7.20984759671747,7.9718640093786597,3.86869871043376,45.193434935521701,"1",4.5720984759671701,180.24618991793699,64.009378663540403,"1",38.100820633059797,10.199296600234501,33.528722157092602,27.784290738569801,12.4853458382181,9.6131301289566196,34.466588511137203,21.453692848769101,30.2461899179367,228.60492379835901]
["01:00:00",6.3305978898006998,47.655334114888603,24.267291910902699,17.819460726846401,34.583821805392702,32.356389214536897,7.20984759671747,7.7373974208675298,3.86869871043376,56.975381008206298,"1",4.5720984759671701,193.87456037514701,64.712778429073893,"1",38.100820633059797,12.8956623681125,31.418522860492399,27.080890973036301,14.0679953106682,9.1441969519343491,34.349355216881598,21.453692848769101,31.887456037514699,233.00117233294301]
["02:00:00",6.3305978898006998,51.172332942555698,27.432590855802999,21.5709261430246,34.583821805392702,40.621336459554499,6.5064478311840599,7.5029308323563901,3.86869871043376,62.778429073856998,"1",4.5720984759671701,218.93317702227401,72.098475967174707,"1",38.100820633059797,12.778429073857,37.162954279015203,31.477139507620201,18.112543962485301,9.8475967174677592,34.349355216881598,21.981242672919102,32.356389214536897,260.25791324736201]
["03:00:00",8.9097303634232095,60.844079718640103,32.1219226260258,25.322391559202799,34.7010550996483,49.941383352872201,7.7373974208675298,9.1441969519343491,3.7514654161781902,59.788980070340003,"1",4.4548651817116101,257.18053927315401,86.342321219226307,"1",37.8663540445487,12.6611957796014,46.658851113716302,34.466588511137203,17.760844079718598,12.8956623681125,34.349355216881598,29.1910902696366,40.093786635404498,301.143024618992]
["04:00:00",10.316529894489999,77.198124267291902,35.756154747948401,22.743259085580299,34.466588511137203,58.733880422039903,13.0128956623681,15.0058616647128,3.86869871043376,77.022274325908597,"2",4.4548651817116101,305.539273153576,97.069167643610797,"2",38.218053927315403,12.8956623681125,52.520515826494702,43.962485345838203,24.091441969519298,15.0058616647128,34.232121922626,34.642438452520501,55.099648300117202,353.018757327081]
["05:00:00",10.9026963657679,91.793669402110197,35.756154747948401,26.260257913247401,34.232121922626,58.558030480656498,16.178194607268502,15.0058616647128,3.6342321219226301,84.583821805392702,"2",4.4548651817116101,341.148886283705,102.16881594372801,"2",1.8757327080891,12.778429073857,55.8030480656506,57.854630715123101,29.1910902696366,20.398593200468898,34.232121922626,39.038686987104299,65.650644783118395,384.67174677608398]
["06:00:00",10.082063305978901,99.531066822977706,42.321219226260297,24.853458382180499,34.466588511137203,66.822977725674093,17.584994138335301,15.0058616647128,3.6342321219226301,91.266119577960097,"2",4.4548651817116101,366.647127784291,122.91910902696399,"2",1.8757327080891,19.812426729191099,56.975381008206298,62.250879249706898,28.1359906213365,25.322391559202799,34.349355216881598,40.797186400937903,71.043376318874607,420.72098475967198]
["07:00:00",11.7233294255569,109.026963657679,46.424384525205198,28.839390386869901,34.349355216881598,65.064478311840602,21.8053927315358,15.0058616647128,3.86869871043376,91.617819460726807,"1",4.4548651817116101,398.73974208675298,117.643610785463,"1",1.8757327080891,19.577960140679998,62.602579132473601,70.164126611957798,26.0257913247362,26.0257913247362,34.232121922626,43.083235638921501,70.339976553341103,437.86635404454898]
["08:00:00",10.9026963657679,111.13716295427901,46.776084407971901,27.198124267291899,34.349355216881598,65.592028135990603,19.343493552168798,15.0058616647128,3.7514654161781902,99.179366940210997,"2",4.3376318874560402,402.69636576787798,126.260257913247,"2",1.7584994138335299,12.6611957796014,63.540445486518202,68.405627198124293,33.763188745603699,27.432590855802999,34.232121922626,45.017584994138304,73.153575615474793,451.49472450175898]
["09:00:00",11.019929660023401,108.499413833529,47.596717467760797,24.384525205158301,34.349355216881598,64.185228604923793,17.760844079718598,13.364595545134801,3.6342321219226301,90.035169988276706,"1",4.4548651817116101,383.79249706916801,120.63305978898001,"1",1.8757327080891,19.577960140679998,65.181711606096101,69.636576787807698,27.6084407971864,27.9015240328253,34.232121922626,44.138335287221601,72.684642438452499,440.504103165299]
["10:00:00",10.5509964830012,104.103165298945,49.4724501758499,26.963657678780802,34.349355216881598,65.416178194607298,17.584994138335301,15.0058616647128,3.5169988276670598,97.069167643610797,"2",4.4548651817116101,386.43024618991802,116.764361078546,"2",1.8757327080891,19.695193434935501,66.822977725674093,65.943728018757298,23.212192262602599,28.839390386869901,34.114888628370501,43.434935521688203,68.933177022274293,425.99648300117201]
["11:00:00",9.7303634232121894,103.22391559202801,50.058616647127799,22.743259085580299,34.349355216881598,62.954279015240303,18.464243845252099,15.0058616647128,3.86869871043376,90.211019929659997,"1",4.3376318874560402,375.43962485345799,114.83001172332899,"1",1.8757327080891,19.4607268464244,65.181711606096101,66.471277842907398,27.784290738569801,25.7913247362251,34.232121922626,43.259085580304799,67.291910902696401,426.43610785463102]
["12:00:00",10.433763188745599,96.365767878077406,50.879249706916802,18.288393903868698,34.232121922626,65.592028135990603,15.6506447831184,11.957796014068,3.7514654161781902,90.562719812426707,"2",4.4548651817116101,364.00937866354002,113.24736225087899,"2",2.34466588511137,12.8956623681125,65.064478311840602,64.009378663540403,23.212192262602599,24.853458382180499,34.232121922626,44.138335287221601,69.167643610785504,415.005861664713]
["13:00:00",11.019929660023401,89.155920281359897,52.286049237983597,19.2262602579132,34.349355216881598,62.250879249706898,15.6506447831184,11.957796014068,3.86869871043376,94.783118405627206,"1",4.3376318874560402,359.61313012895698,119.402110199297,"1",36.576787807737396,19.4607268464244,72.684642438452499,56.271981242672901,21.2778429073857,21.5709261430246,34.114888628370501,40.973036342321201,62.133645955451399,437.86635404454898]
["14:00:00",12.309495896834701,85.638921453692802,56.037514654161797,18.288393903868698,34.349355216881598,69.636576787807698,13.7162954279015,10.5509964830012,3.7514654161781902,95.662368112544002,"2",4.4548651817116101,363.13012895662399,116.94021101993,"2",36.576787807737396,19.4607268464244,72.332942555685804,51.172332942555698,18.991793669402099,17.116060961313,34.114888628370501,45.896834701055099,57.9132473622509,418.083235638921]
["15:00:00",12.192262602579101,79.308323563892102,54.630715123095001,19.2262602579132,34.349355216881598,66.822977725674093,11.781946072684599,10.082063305978901,3.86869871043376,94.431418522860497,"2",4.4548651817116101,353.018757327081,122.91910902696399,"2",36.576787807737396,12.6611957796014,70.926143024618995,55.392731535756198,17.4091441969519,15.0058616647128,34.232121922626,45.369284876904999,54.161781946072701,411.92848769050403]
["16:00:00",11.019929660023401,79.132473622508797,54.7479484173505,19.2262602579132,34.466588511137203,68.933177022274293,11.4302461899179,10.316529894489999,3.86869871043376,89.859320046893302,"2",4.4548651817116101,345.98475967174699,117.46776084408,"2",36.928487690504099,19.4607268464244,71.277842907385704,49.589683470105498,17.057444314185201,13.364595545134801,34.232121922626,43.962485345838203,48.065650644783098,404.89449003517001]
["17:00:00",11.8405627198124,79.835873388042202,55.334114888628399,18.991793669402099,34.466588511137203,66.998827667057398,11.254396248534601,9.6131301289566196,3.86869871043376,86.166471277842902,"2",4.4548651817116101,349.94138335287198,123.094958968347,"2",36.928487690504099,19.812426729191099,76.318874560375207,48.182883939038703,17.233294255568602,11.254396248534601,34.349355216881598,42.203985932004699,45.2520515826495,406.21336459554499]
["18:00:00",10.6682297772567,76.846424384525207,51.699882766705699,16.647127784290699,34.349355216881598,73.329425556858197,9.4958968347010604,10.7854630715123,3.7514654161781902,93.903868698710397,"2",4.3376318874560402,345.54513481828798,111.13716295427901,"2",36.342321219226299,12.5439624853458,74.794841735052799,50.117233294255598,17.760844079718598,13.1301289566237,34.114888628370501,39.742086752637697,45.017584994138304,387.749120750293]
["19:00:00",9.2614302461899207,75.615474794841703,40.914419695193402,12.192262602579101,34.583821805392702,57.854630715123101,7.5615474794841697,9.1441969519343491,3.86869871043376,73.329425556858197,"1",4.4548651817116101,287.07502930832402,100.937866354045,"1",37.045720984759697,19.695193434935501,66.119577960140703,43.434935521688203,17.057444314185201,13.1301289566237,34.349355216881598,36.400937866353999,40.797186400937903,357.85463071512299]
["20:00:00",7.5029308323563901,61.019929660023401,35.169988276670601,11.019929660023401,34.466588511137203,48.534583821805398,7.5615474794841697,8.6752637749120805,3.86869871043376,66.119577960140703,"1",4.5720984759671701,242.23329425556901,82.121922626025807,"1",36.928487690504099,19.4607268464244,54.865181711606098,38.159437280187603,13.892145369284901,11.7233294255569,34.349355216881598,26.905041031652999,35.638921453692902,302.90152403282502]
["21:00:00",7.62016412661196,56.096131301289603,29.1910902696366,11.019929660023401,34.583821805392702,39.038686987104299,7.20984759671747,7.9718640093786597,3.7514654161781902,53.458382180539303,"1",4.5720984759671701,213.218053927315,74.560375146541602,"1",37.514654161781898,19.929660023446701,47.3622508792497,35.169988276670601,13.892145369284901,10.316529894489999,34.466588511137203,25.322391559202799,31.887456037514699,274.32590855803102]
["22:00:00",7.5029308323563901,51.875732708089103,27.667057444314199,9.6131301289566196,34.466588511137203,37.280187573270801,6.8581477139507596,8.4407971864009408,3.86869871043376,61.195779601406798,"1",4.4548651817116101,207.94255568581499,69.109026963657698,"1",36.928487690504099,12.778429073857,0,32.180539273153599,13.188745603751499,10.7854630715123,34.349355216881598,23.212192262602599,30.480656506447801,211.019929660023]
["23:00:00",6.3305978898006998,52.0515826494725,26.494724501758501,9.6131301289566196,34.466588511137203,35.697538100820601,7.20984759671747,8.4407971864009408,3.7514654161781902,57.151230949589703,"1",4.4548651817116101,197.39155920281399,68.229777256740903,"1",37.045720984759697,12.8956623681125,36.225087924970701,30.597889800703399,12.837045720984801,11.019929660023401,34.232121922626,22.684642438452499,29.308323563892099,241.35404454865201]
["24:00:00",5.7444314185228604,55.7444314185229,25.439624853458401,9.8475967174677592,34.583821805392702,35.873388042203999,7.20984759671747,7.9718640093786597,3.7514654161781902,48.710433763188703,"1",4.4548651817116101,191.67643610785501,66.822977725674093,"1",36.576787807737396,12.6611957796014,34.232121922626,31.3012895662368,13.364595545134801,10.7854630715123,34.349355216881598,22.508792497069201,29.7772567409144,244.87104337631899]
[]
["                     Примечание: ячейки входящие в \"График временного отключения потребления\" - №---(отсутствуют)"]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической мощности\" - №№1,3,5,11,13,18,20,25."]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической энергии\" - №№1,3,5, 11,13,18,20,25,30."]
[null,"                          ячейки заведенные под действие АЧР - №№1,5,7,11,13,16,17,18,19,20,26,30"]
["Селенгин В.В.\n(3902) 29-90-49"]