{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["яч.1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"яч.1","index":0,"n_rows":42,"n_cols":26,"rows_kept":42,"cut":false,"hidden":false,"merged":[[6,0,6,24],[5,0,5,24],[8,1,8,25],[41,0,41,1],[37,0,37,25],[38,1,38,24],[39,1,39,24],[40,1,40,24],[8,0,9,0]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Приложение 2"]
[]
[]
[]
["Ведомость контрольных замеров за 15.06.2022г."]
["ПС 110/10 кВ №96 \"Полярная\""]
[]
["Время "," Iн. А"]
[null,"Яч.1","Яч.3","Яч.5","Яч.7","Яч.9","Яч.11","Яч.13","Яч.17","Яч.19","Яч.25","Яч.27 ","Яч.29","Яч.23","Яч.4","Яч.6 ","Яч.8","Яч.16","Яч.18","Яч.20","Яч.24","Яч.26","Яч.28","Яч.30","Яч.32","Яч.10"]
["(мск.)",null,null,null,null,"КРМ",null,null,null,null,null,"ТСН",null,null,null,"ТСН",null,null,null,null,null,null,"КРМ"]
["00:00:00",7.62016412661196,56.975381008206298,33.059788980070302,11.254396248534601,34.349355216881598,38.511137162954299,7.5615474794841697,7.2684642438452496,3.7514654161781902,58.206330597889803,"1",11.4888628370457,218.05392731535801,77.022274325908597,"1",1.8757327080891,0,38.804220398593202,31.8288393903869,14.419695193434899,12.6611957796014,34.232121922626,27.6084407971864,26.729191090269602,218.93317702227401]
["01:00:00",7.5029308323563901,57.502930832356398,31.184056271981198,11.019929660023401,34.466588511137203,34.642438452520501,6.5064478311840599,6.5650644783118404,3.9859320046893298,55.920281359906198,"1",11.4888628370457,210.140679953107,75.087924970691702,"1",1.8757327080891,0,32.942555685814803,26.729191090269602,16.3540445486518,11.254396248534601,34.232121922626,29.7186400937866,25.087924970691699,206.18405627198101]
["02:00:00",7.5029308323563901,62.954279015240303,33.528722157092602,11.7233294255569,34.232121922626,40.973036342321201,7.5615474794841697,6.5650644783118404,3.86869871043376,60.844079718640103,"1",11.4888628370457,229.044548651817,84.232121922626007,"1",1.8757327080891,0,38.569753810082098,31.477139507620201,16.881594372801899,11.019929660023401,34.232121922626,29.894490035170001,26.963657678780802,228.60492379835901]
["03:00:00",9.6131301289566196,79.660023446658897,39.273153575615503,14.7713950762016,34.114888628370501,47.479484173505298,8.9683470105509997,7.0339976553341197,3.9859320046893298,71.219226260257898,"1",11.254396248534601,277.40328253223902,100.937866354045,"1",1.8757327080891,0,46.072684642438503,35.521688159437304,18.991793669402099,12.8956623681125,34.114888628370501,35.169988276670601,34.935521688159398,276.08440797186398]
["04:00:00",11.137162954279001,90.562719812426707,47.3622508792497,15.9437280187573,34.114888628370501,55.7444314185229,11.254396248534601,10.316529894489999,3.7514654161781902,82.825322391559197,"2",11.4888628370457,326.64126611957801,102.344665885111,"2",1.8757327080891,0,49.4724501758499,48.358733880422001,29.1910902696366,21.5709261430246,33.880422039859297,41.324736225087896,45.017584994138304,323.124267291911]
["05:00:00",11.4888628370457,117.99531066823,53.458382180539303,20.633059788980098,33.763188745603699,61.723329425556898,20.0468933177022,11.957796014068,3.7514654161781902,97.420867526377506,"2",11.4888628370457,405.773739742087,112.19226260257901,"2",1.8757327080891,3.7514654161781902,59.320046893317702,59.788980070340003,33.763188745603699,27.9015240328253,33.528722157092602,50.996483001172301,55.8030480656506,393.024618991794]
["06:00:00",11.137162954279001,115.88511137163,65.767878077373993,21.3364595545135,33.763188745603699,67.350527549824207,23.563892145369302,10.7854630715123,3.7514654161781902,102.344665885111,"2",11.371629542790201,424.23798358733899,126.963657678781,"2",1.8757327080891,3.6342321219226301,63.657678780773701,70.867526377491203,35.345838218053899,36.576787807737396,33.528722157092602,56.975381008206298,64.243845252051599,447.09847596717498]
["07:00:00",11.6060961313013,124.150058616647,65.885111371629506,21.1019929660023,33.763188745603699,69.284876905041003,25.146541617819501,10.316529894489999,3.7514654161781902,108.499413833529,"1",11.6060961313013,434.34935521688197,133.47010550996501,"1",1.8757327080891,3.7514654161781902,61.899179366940203,72.977725674091403,34.114888628370501,36.342321219226299,33.528722157092602,60.4923798358734,60.961313012895701,447.53810082063302]
["08:00:00",12.192262602579101,110.785463071512,68.347010550996501,21.5709261430246,33.6459554513482,74.560375146541602,24.091441969519298,11.957796014068,3.7514654161781902,107.268464243845,"2",11.6060961313013,438.74560375146501,132.76670574443099,"2",1.8757327080891,3.6342321219226301,65.416178194607298,72.626025791324693,35.345838218053899,34.466588511137203,33.411488862836997,62.778429073856998,64.712778429073893,459.40797186400903]
["09:00:00",10.9026963657679,112.016412661196,75.615474794841703,21.8053927315358,33.528722157092602,73.329425556858197,24.9706916764361,11.957796014068,3.7514654161781902,110.433763188746,"1",11.6060961313013,443.58147713950802,133.997655334115,"1",1.8757327080891,3.7514654161781902,66.471277842907398,73.505275498241502,38.159437280187603,39.155920281359897,33.411488862836997,64.712778429073893,65.181711606096101,468.64009378663502]
["10:00:00",11.6060961313013,116.236811254396,64.947245017585004,20.398593200468898,33.6459554513482,68.581477139507598,19.871043376318902,10.7854630715123,3.7514654161781902,107.092614302462,"2",11.6060961313013,421.16060961313002,128.722157092614,"2",1.7584994138335299,3.6342321219226301,63.540445486518202,65.767878077373993,31.8288393903869,34.7010550996483,33.528722157092602,61.5474794841735,58.3821805392732,437.42672919108998]
["11:00:00",12.309495896834701,114.47831184056299,65.181711606096101,20.164126611957801,33.6459554513482,65.943728018757298,21.629542790152399,11.019929660023401,3.7514654161781902,104.630715123095,"1",11.371629542790201,420.28135990621303,119.05041031653001,"1",1.8757327080891,10.6682297772567,60.4923798358734,69.460726846424393,33.763188745603699,34.466588511137203,33.528722157092602,55.392731535756198,57.9132473622509,434.34935521688197]
["12:00:00",12.426729191090301,112.016412661196,69.167643610785504,20.398593200468898,33.528722157092602,69.988276670574507,21.1019929660023,10.082063305978901,3.7514654161781902,103.75146541617799,"2",11.7233294255569,415.44548651817098,125.205158264947,"2",1.8757327080891,3.6342321219226301,62.368112543962503,70.339976553341103,31.477139507620201,32.5908558030481,33.528722157092602,60.668229777256698,56.975381008206298,431.71160609613099]
["13:00:00",13.481828839390401,95.662368112544002,70.222743259085604,20.867526377491199,33.6459554513482,71.570926143024593,18.991793669402099,9.6131301289566196,3.7514654161781902,105.86166471277799,"1",11.4888628370457,407.09261430246198,129.07385697538101,"1",1.8757327080891,10.082063305978901,64.243845252051599,67.174677608440803,31.125439624853499,35.169988276670601,33.411488862836997,61.195779601406798,55.334114888628399,447.09847596717498]
["14:00:00",14.7713950762016,90.386869871043402,68.815943728018794,20.633059788980098,33.997655334114903,71.922626025791303,16.178194607268502,9.6131301289566196,3.86869871043376,104.45486518171199,"2",11.4888628370457,400.93786635404501,135.228604923798,"2",1.8757327080891,10.082063305978901,64.595545134818295,62.250879249706898,26.905041031652999,22.743259085580299,33.880422039859297,62.602579132473601,48.534583821805398,422.479484173505]
["15:00:00",12.778429073857,90.386869871043402,69.167643610785504,19.4607268464244,33.997655334114903,76.494724501758498,15.2989449003517,8.2063305978897993,3.7514654161781902,103.399765533411,"2",11.6060961313013,396.981242672919,132.76670574443099,"2",1.8757327080891,10.082063305978901,68.464243845252099,59.085580304806598,24.794841735052799,18.288393903868698,33.6459554513482,61.195779601406798,45.955451348182898,415.44548651817098]
["16:00:00",13.2473622508793,90.738569753810097,66.822977725674093,19.4607268464244,33.997655334114903,72.801875732708098,14.0679953106682,8.2063305978897993,3.9859320046893298,106.213364595545,"2",11.254396248534601,386.86987104337601,125.205158264947,"2",1.8757327080891,10.082063305978901,66.3540445486518,54.337631887455998,22.8604923798359,17.116060961313,33.763188745603699,60.844079718640103,42.907385697538103,391.70574443141902]
["17:00:00",13.7162954279015,84.232121922626007,67.174677608440803,17.584994138335301,33.997655334114903,73.856975381008198,13.892145369284901,7.9718640093786597,3.86869871043376,102.344665885111,"2",11.4888628370457,381.15474794841703,126.084407971864,"2",1.7584994138335299,3.6342321219226301,63.657678780773701,51.348182883939003,23.212192262602599,15.2403282532239,33.880422039859297,59.261430246189903,37.045720984759697,367.96600234466598]
["18:00:00",15.0058616647128,90.914419695193402,62.837045720984797,15.0058616647128,33.880422039859297,73.198124267291902,11.254396248534601,7.9718640093786597,3.86869871043376,101.86166471277799,"2",11.254396248534601,377.19812426729197,123.094958968347,"2",1.8757327080891,9.9648300117233006,65.347010550996501,52.579132473622501,20.398593200468898,15.0058616647128,33.763188745603699,53.810082063305998,38.686987104337597,370.16412661195801]
["19:00:00",12.6611957796014,85.463071512309497,48.300117233294301,14.536928487690499,33.997655334114903,66.998827667057398,8.2649472450175807,8.4407971864009408,3.86869871043376,93.024618991793702,"1",11.137162954279001,333.67526377491203,110.961313012896,"1",1.8757327080891,3.5169988276670598,61.664712778429099,45.896834701055099,19.519343493552199,13.599062133645999,33.763188745603699,43.962485345838203,33.997655334114903,318.28839390386901]
["20:00:00",10.082063305978901,69.460726846424393,42.672919109026999,12.192262602579101,34.114888628370501,51.524032825322401,7.5615474794841697,7.2684642438452496,3.9859320046893298,77.901524032825293,"1",11.371629542790201,276.52403282532202,90.738569753810097,"1",1.8757327080891,10.082063305978901,48.4173505275498,39.038686987104299,16.529894490035201,11.254396248534601,33.997655334114903,38.862837045721001,28.370457209847601,272.12778429073899]
["21:00:00",8.0890973036342295,61.899179366940203,37.514654161781898,12.192262602579101,34.349355216881598,45.369284876904999,7.7373974208675298,7.0339976553341197,3.86869871043376,69.812426729191102,"1",11.6060961313013,247.069167643611,79.484173505275507,"1",1.8757327080891,3.5169988276670598,42.203985932004699,35.169988276670601,16.178194607268502,11.019929660023401,34.232121922626,31.3012895662368,27.667057444314199,234.32004689331799]
["22:00:00",7.9718640093786597,58.206330597889803,34.232121922626,11.4888628370457,34.349355216881598,39.742086752637697,7.7373974208675298,7.2684642438452496,3.9859320046893298,63.305978898006998,"1",11.254396248534601,227.286049237984,76.143024618991802,"1",1.8757327080891,3.5169988276670598,37.514654161781898,32.004689331770201,18.288393903868698,11.957796014068,34.232121922626,30.070339976553299,27.198124267291899,226.40679953106701]
["23:00:00",8.2063305978897993,57.678780773739703,32.942555685814803,11.019929660023401,34.349355216881598,38.335287221570901,7.5615474794841697,7.0339976553341197,3.7514654161781902,58.3821805392732,"1",11.371629542790201,217.614302461899,75.263774912074993,"1",1.8757327080891,3.5169988276670598,36.342321219226299,30.422039859320002,15.4747948417351,10.7854630715123,34.349355216881598,29.366940211019902,25.7913247362251,212.338804220399]
["24:00:00",8.2063305978897993,57.327080890973001,33.294255568581498,10.5509964830012,34.466588511137203,39.038686987104299,8.2649472450175807,6.5650644783118404,3.9859320046893298,58.206330597889803,"1",11.254396248534601,218.05392731535801,72.977725674091403,"1",1.8757327080891,3.6342321219226301,37.749120750293102,30.949589683470101,16.002344665885101,11.019929660023401,34.232121922626,27.6084407971864,24.853458382180499,214.536928487691]
[]
["                     Примечание: ячейки входящие в \"График временного отключения потребления\" - №---(отсутствуют)"]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической мощности\" - №№1,3,5,11,13,18,20,25."]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической энергии\" - №№1,3,5, 11,13,18,20,25,30."]
[null,"                          ячейки заведенные под действие АЧР - №№1,5,7,11,13,17,18,19,20,26,30"]
["Селенгин В.В.\n(3902) 29-90-49"]