{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["яч.1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"яч.1","index":0,"n_rows":42,"n_cols":26,"rows_kept":42,"cut":false,"hidden":false,"merged":[[6,0,6,24],[5,0,5,24],[8,1,8,25],[41,0,41,1],[37,0,37,25],[38,1,38,24],[39,1,39,24],[40,1,40,24],[8,0,9,0]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Приложение 2"]
[]
[]
[]
["Ведомость контрольных замеров за 19.06.2024г."]
["ПС 110/10 кВ №96 \"Полярная\""]
[]
["Время "," Iн. А"]
[null,"Яч.1","Яч.3","Яч.5","Яч.7","Яч.9","Яч.11","Яч.13","Яч.17","Яч.19","Яч.25","Яч.27 ","Яч.29","Яч.23","Яч.4","Яч.6 ","Яч.8","Яч.16","Яч.18","Яч.20","Яч.24","Яч.26","Яч.28","Яч.30","Яч.32","Яч.10"]
["(мск.)",null,null,null,null,"КРМ",null,null,null,null,null,"ТСН",null,null,null,"ТСН",null,null,null,null,null,null,"КРМ"]
["00:00:00",7.6,60,29.6,10.4,34.114888628370501,34.200000000000003,2,5.6,2.4,59.4,0.48,0.55600000000000005,204,64.2,0.2,5.6,0.57599999999999996,38,21.6,11.4,8.8000000000000007,34.08,33,29.6,207]
["01:00:00",8,60.6,30.8,10.4,34.114888628370501,34.200000000000003,0,7.2,2.4,58.8,0.48,0.56000000000000005,204,64.8,0.2,6,0.57599999999999996,37.6,21,10.8,8.8000000000000007,34.04,31.8,29.6,204]
["02:00:00",7.6,64.2,33.200000000000003,12,33.997655334114903,37.799999999999997,0,6.4,2.4,59.4,0.48,0.56399999999999995,216,67.2,0.2,6,0.59199999999999997,39.6,22.2,12,9.6,34.04,34.799999999999997,30.4,216]
["03:00:00",8.8000000000000007,82.8,36,14.4,33.997655334114903,48,2.8,7.2,2.4,67.2,0.48,0.56399999999999995,264,79.2,0.2,6.4,0.58799999999999997,50.8,24,15,11.2,33.96,40.200000000000003,34.4,261]
["04:00:00",8.8000000000000007,99.6,44,16,33.997655334114903,51,2.8,11.2,2.4,74.400000000000006,0.48,0.56799999999999995,303,89.4,0.2,6.4,0.57999999999999996,50.8,32.4,21,15.2,34,46.2,51.2,312]
["05:00:00",2.8,123,47.2,17.600000000000001,"34,2",57.6,5.2,12,2.8,83.4,0.48,0.57199999999999995,342,91.8,0.2,6,0.58799999999999997,55.6,42.6,31.2,22.4,34,54.6,58.4,354]
["06:00:00",2.4,128.4,59.2,17.600000000000001,33.880422039859297,64.8,8,13.6,2.4,88.2,0.48,0.56799999999999995,384,105,0.2,5.6,0.58399999999999996,58,45,23.4,28,34,62.4,62.4,390]
["07:00:00",2.4,135,62.4,19.2,33.763188745603699,64.8,8,10.4,2.4,93.6,0.48,0.56000000000000005,387,105,0.2,6,0.6,65.2,52.8,28.2,30.4,33.880000000000003,63.6,62.4,408]
["08:00:00",3.2,120,64.400000000000006,20,33.763188745603699,73.2,7.2,12,2.4,92.4,0.48,0.55600000000000005,378,106.8,0.2,5.6,0.58399999999999996,62.4,48.6,26.4,37.6,33.92,61.8,63.2,414]
["09:00:00",2.8,120,62.4,21.6,33.880422039859297,63,7.6,14.4,2.4,97.2,0.48,0.57199999999999995,369,105,0.2,5.6,0.6,62,46.2,22.2,35.200000000000003,33.96,61.8,64,390]
["10:00:00",3.2,124.8,61.6,20,33.880422039859297,60.6,7.6,12,2.8,94.2,0.48,0.56799999999999995,378,103.2,0.2,5.6,0.58799999999999997,58.8,45,18.600000000000001,32.799999999999997,33.92,60.6,60.8,387]
["11:00:00",3.2,115.8,61.2,20.8,33.880422039859297,63,7.6,11.2,2.8,93,0.48,0.56399999999999995,363,105,0.2,5.6,0.58399999999999996,64.8,45.6,21,33.6,33.92,64.8,60.8,387]
["12:00:00",10.8,117.6,62,20.8,33.763188745603699,62.4,6.8,12,2.8,91.8,0.44,0.55600000000000005,366,106.8,0.2,5.6,0.59199999999999997,60,45,18.600000000000001,32,33.92,65.400000000000006,60.8,384]
["13:00:00",10,109.8,58,18.399999999999999,33.997655334114903,60,6.4,9.6,2.8,86.4,0.48,0.56799999999999995,354,102.6,0.2,5.6,0.57999999999999996,62,43.8,16.2,28.8,33.96,64.2,55.2,372]
["14:00:00",12.8,103.8,67.2,17.600000000000001,33.880422039859297,60,6.4,8.8000000000000007,2.4,89.4,0.48,0.56399999999999995,363,105,0.2,6.4,0.59199999999999997,68,36,18.600000000000001,22.4,33.96,65.400000000000006,56.8,372]
["15:00:00",13.2,101.4,68,16,33.880422039859297,66,6.4,7.2,2.4,92.4,0.48,0.55600000000000005,366,105.6,0.2,5.6,0.59199999999999997,72,34.799999999999997,16.8,20,34.08,64.8,49.6,360]
["16:00:00",12,90,66.8,16.8,33.880422039859297,62.4,7.2,7.2,2.8,91.2,0.48,0.56799999999999995,345,99,0.2,5.6,0.59199999999999997,66.8,34.799999999999997,18,16.8,34.119999999999997,59.4,45.6,345]
["17:00:00",10,87,60,16.8,33.997655334114903,60,5.6,7.2,2.8,87,0.48,0.56799999999999995,327,96,0.2,6,0.58399999999999996,64.8,31.8,17.399999999999999,15.2,34.200000000000003,60,42.4,330]
["18:00:00",12.4,61.2,54,44,33.997655334114903,64.2,9.1999999999999993,7.2,2.8,87,0.48,0.57199999999999995,330,94.2,0.2,6,0.58399999999999996,69.599999999999994,32.4,15,16,34.200000000000003,60,40,330]
["19:00:00",10,57,44,38.4,33.880422039859297,55.8,8.8000000000000007,7.2,2.8,75,0.48,0.55200000000000005,294,83.4,0.2,6,0.58799999999999997,65.2,27.6,13.8,12,34.200000000000003,48.6,36.799999999999997,285]
["20:00:00",8,51.6,37.200000000000003,32.799999999999997,33.997655334114903,45,8,6.4,2.8,69.599999999999994,0.52,0.55600000000000005,258,70.8,0.2,5.6,0.58399999999999996,51.2,24.6,14.4,10.4,34.119999999999997,40.799999999999997,32,249]
["21:00:00",7.2,49.2,32.4,30.4,33.880422039859297,37.799999999999997,8.8000000000000007,6.4,2.4,61.8,0.52,0.56000000000000005,228,61.2,0.2,6.4,0.58399999999999996,47.2,22.2,15,10.4,34.200000000000003,34.200000000000003,29.6,222]
["22:00:00",6.4,46.8,30.4,28.8,34.114888628370501,33,8.8000000000000007,6.4,2.4,59.4,0.48,0.56399999999999995,216,59.4,0.2,6.4,0.57999999999999996,44.4,21,13.8,9.6,34.200000000000003,30.6,28.8,207]
["23:00:00",6.8,43.8,29.2,28.8,34.114888628370501,33.6,8.4,6.4,2.8,55.2,0.48,0.55200000000000005,204,59.4,0.2,6,0.58799999999999997,43.6,21,13.2,11.2,34.159999999999997,30,28,207]
["24:00:00",6.8,44.4,29.6,29.6,34.114888628370501,31.8,8,6.4,2.8,54.6,0.48,0.55600000000000005,207,66.599999999999994,0.2,6.4,0.57999999999999996,44,21.6,12.6,10.4,34.119999999999997,28.8,28,210]
[]
["                     Примечание: ячейки входящие в \"График временного отключения потребления\" - №---(отсутствуют)"]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической мощности\" - №№1,5,13,18."]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической энергии\" - №№1,3,5, 11,13,18,20,25,30."]
[null,"                          ячейки заведенные под действие АЧР - №№1,5,7,11,13,17,18,19,20,26,30"]
["Селенгин В.В.\n(3902) 29-90-46"]